## Slide 1: Critical Energy Infrastructure Security
Presentation by:
CSP008_C_E

## Slide 3: Cybersecurity in Emerging Technologies for the Energy Network Course Overview
Cascading Effects and Risk Assessment
T4.
T1.
Introduction to Critical Infrastructure Security and Challenges
T3.
Security and Resilience
T2.
Common Security Weaknesses and Threat Landscape
Regulations and Standards
T5.
T6.
Privacy, Ethical, Legal, and Social Implications

## Slide 4: T5: Security and Resilence
Security & Resilience in CEI
Notes: “In CEI, resilience is a design requirement, not a ‘nice-to-have’.”

## Slide 5: Learning Objectives
Choose technical + organisational controls for CEI
Explain segmentation and perimeter defence for OT
Design incident response suitable for OT constraints
Create recovery/BCP/DR plans and test strategy
Use CTI/situational awareness in operations
Notes: Focus on implementable controls and runbooks.

## Slide 6: Threat-driven security architecture
Start from risk scenarios (Topic 2)
Protect critical functions first (Topic 1)
Build layered defenses (Topic 5)
Notes: Start from risk scenarios (Topic 2)
Protect critical functions first (Topic 1)
Build layered defenses (Topic 5)

## Slide 7: CEI control layers
Governance controls (policies, roles)
Architectural controls (segmentation, zoning)
Technical controls (monitoring, access control)
Operational controls (procedures, drills)
Notes: “controls fail unless operated.”

## Slide 8: Segmentation & zoning (core OT principle)
Separate IT from OT
Separate OT zones by function/criticality
Limit pathways and enforce inspection points
Notes: Segmentation is often the #1 cascade breaker.

## Slide 9: Segmentation: IT – DMZ – OT Zones
IT / Corporate
Email / ERP / AD
SOC / SIEM
Industrial DMZ
Jump host / Bastion
Proxy / Logging
OT / Control
SCADA / HMI
PLCs / RTUs
Notes: Segmentation is often the #1 cascade breaker.

## Slide 10: Perimeter defence for CEI
Encryption + perimeter defence
Network security architecture in critical systems
Notes: Distinction: OT perimeter is not a single firewall; it’s controlled conduits.

## Slide 11: Identity and access for OT
Least privilege for operators/engineers/vendors
MFA for remote access
Session recording for vendor access
Break-glass accounts with auditing
Notes: Remote access is frequently abused; treat it as high-risk.

## Slide 12: Monitoring & OT-aware detection
Passive monitoring where possible
Baselines + anomaly detection
Alert hygiene to avoid alarm fatigue
Logging at boundaries and critical assets
Notes: OT detection often prioritises “visibility” over deep endpoint control.

## Slide 13: Operational Pipeline: Detect  Respond  Recover
Detect Monitoring + triage
Respond Contain + coordinate
Recover Restore + validate safety
Notes: OT detection often prioritises “visibility” over deep endpoint control.

## Slide 14: Intrusion detection (advanced)
Boundary IDS for protocols
Detection engineering in OT context
Validation via tabletop and simulation
Notes: Keep it conceptual; detailed tools are optional.

## Slide 15: Situational awareness & CTI
Situational awareness and sharing data through CTI
Notes: CTI is only useful if it changes prioritisation and action.

## Slide 16: CTI in Operations
CTI inputs IOCs + TTPs + advisories
Prioritisation What to watch / patch / isolate
Operational actions Detections, hardening, drills
Notes: CTI is only useful if it changes prioritisation and action.

## Slide 17: Incident response in CEI
IR must respect safety and uptime
Coordination between IT SOC and OT operations
Clear escalation criteria
Notes: Why “pull the plug” is rarely acceptable in OT.

## Slide 18: Incident response phases (CEI-adapted)
Preparation
Detection/analysis
Containment (careful!)
Eradication (planned windows)
Recovery (validate safety)
Lessons learned
Notes: Containment options differ: segmentation, isolation of conduits, fail-safe modes

## Slide 19: Recovery and restoration
Coordinated and advanced incident response
(Dynamic) recovery against cyber-attacks
Notes: “safe recovery”: validate control logic and process stability.

## Slide 20: Business continuity & disaster recovery
Security policy + risk treatment plan
Disaster recovery plan
Business continuity plan
Notes: In CEI, continuity includes manual operation modes and fuel logistics.

## Slide 21: Continuity Stack  DR  BCP
Security policy & risk treatment
Disaster Recovery Plan (DR) Restore systems + validate configurations
Business Continuity Plan (BCP) Keep essential services running safely
Notes: In CEI, continuity includes manual operation modes and fuel logistics.

## Slide 22: Backup strategy that works in OT
Configuration backups (PLC logic, HMI projects)
Version control for engineering artifacts
Offline backups + restore testing
Golden images for critical stations
Notes: “Backups you didn’t test are wishes.”

## Slide 23: Resilience engineering controls
Redundancy and diversity
Graceful degradation
Fail-safe/fail-secure considerations
Safety integration (SIS coordination)
Notes: Show interplay of safety and cybersecurity.

## Slide 24: Metrics for security & resilience
MTTD / MTTR
Recovery success rate
Coverage of monitoring on critical assets
Drill performance
Notes: Metrics create accountability and justify budget.

## Slide 25: Common failure modes
Monitoring exists but no triage process
No OT–IT coordination
Vendor access unmanaged
DR/BCP exists but not tested
Notes: These are exam/real-world pitfalls.

## Slide 26: Thank you
Please send all questions to:
gehad@example.com